## LOT 1
IFB 016-0-2026/HM
ATTACHMENT A: PRICING SCHEDULE
PRICES: shall be in the form of a firm fixed unit price for each item during the contract term.
LOT 1
LABOR RATES
LINE ITEM | DESCRIPTION | UOM | PRICE
1 | Installation, termination and testing of Fiber Optic Cabling, excluding cost of incidental materials (connectors, faceplates, “J” hooks, cable ties, cable routing hardware, patch cords, wire managers, etc) per hour | HOUR
2 | Installation, termination and testing of Category 5e, 6, or 6e cabling, excluding cost of incidental materials (jacks, faceplates, “J” hooks, cable ties, cable routing hardware, patch cords, jumper wire, wire managers, etc.) per hour | HOUR
3 | Installation, termination and testing of RF equipment excluding cost of incidental materials (module jacks, faceplates “J” hooks, cable ties, cable routing hardware, patch cords, jumper wire, wire managers, etc.) per hour | HOUR
4 | Removal, transport, installation, and testing of NNPS owned Interactive White Boards and Projectors per hour. | HOUR

## LOT 2
IFB 016-0-2026/HM
ATTACHMENT B: PRICING SCHEDULE
LOT 2
PRICES: shall be in the form of a firm fixed unit price for each item during the contract term.
Equipment Pricing
LINE ITEM | Description | UOM | PRICE
1 | 1000’ Spool Superior Essex Marathon LAN Cat5e CMP (plenum) cable Part # 51-241-28 | FOOT
2 | 1000’ Spool Superior Essex Marathon LAN Cat5e CMR (non-plenum) cable Part # 51-240-25 | FOOT
3 | 1000’ Spool Superior Essex Series 77 Cat 6 CMP (plenum) cable Part # 77-240-2B | FOOT
4 | 1000’ Spool Superior Essex Series 77 Cat 6 CMR (non-plenum) cable Part # 77-240-2A | FOOT
5 | 1000’ Spool Superior Essex RG-6 Coax 80% Shielded CMP (plenum) cable Part # 78-16C-91 | FOOT
6 | 1000’ Spool Superior Essex Trunk cable, Voice Backbone, Cat3 25 pair CMR (plenum) Part # 18-475-36 | FOOT
7 | 1000’ Spool Corning Part # 012S88-33190-29 MIC Plenum Rated Cable, 12-Fiber multimode with laser-optimized Pretium-550 50 µm fiber. Must comply with Laser Multimode Fiber specifications in ANSI/EIA/TIA/492AAAC, OM3 Specifications in ISO/IEC 11801 2nd edition, and EN50173 2nd Edition. | FOOT
8 | 1000’ Spool Corning Part # 012S88-33180-29 MIC Plenum Rated Cable, 12-Fiber multimode with laser-optimized Pretium-300 50 µm fiber orange jacket, Must comply with Laser Multimode Fiber specifications in ANSI/EIA/TIA/492AAAC, OM3 Specifications in ISO/IEC 11801 2nd edition, and EN50173 2nd Edition. | FOOT
9 | 1000’ Spool Corning Part # 012k88-33130-29 Plenum Rated Cable, 12-Fiber multimode 62.5, orange jacket Must comply with Laser Multimode Fiber specifications in ANSI/EIA/TIA/492AAAC, OM3 Specifications in ISO/IEC 11801 2nd edition, and EN50173 2nd Edition. | FOOT
10 | 1000' Spool Corning Part # 012E88-33131-29 MIC Plenum Rated Cable, 12-Fiber singlemode (OS2) | FOOT
11 | 1000’ Spool TF Trunk Cable RG-11 Superior ESSEX RG11 Plenum | FOOT
12 | 1000’ Spool of 18/2 Stranded Non-shielded Plenum cable (PTZ security camera cabling, security, speaker) TAPPAN Wire Part# 1880AB2/CMP | FOOT
13 | 1000’ Spool of 22/2c Stranded Shld Plenum TAPPAN Wire Part# 2280AB2M/CMP | FOOT
14 | 1000’ Spool Plenum-rated innerduct (duct only) 1” | FOOT
15 | 1000’ Spool Plenum-rated innerduct (duct only) 1 1/4” | FOOT
16 | 1000’ Spool Plenum-rated innerduct (duct only) 2” | FOOT
17 | 1000’ Spool Riser-rated innerduct (duct only) 1” | FOOT
18 | 1000’ Spool Riser-rated innerduct (duct only) 1 1/4” | FOOT
19 | 1000’ Spool Riser-rated innerduct (duct only) 2” | FOOT
20 | Erico Part # CAT32. Cable Hanger 2 'Loop Dia. "J Hook" | EACH
21 | Arlington Industries - MBC25 - MALLEABLE IRON 1/4 BEAM CLAMP | EACH
22 | 3/4" Rigid EMT-Pipe and Conduit Hanger | EACH
23 | 1" Rigid EMT-Pipe and Conduit Hanger | EACH
24 | 1 1/4" Rigid EMT-Pipe and Conduit Hanger | EACH
25 | 1 1/2" Rigid EMT-Pipe and Conduit Hanger | EACH
26 | 2" Rigid EMT-Pipe and Conduit Hanger | EACH
27 | 3/4" Two hole pipe strap | EACH
28 | 1" Two hole pipe strap | EACH
29 | 1 1/4" Two hole pipe strap | EACH
30 | 1 1/2" Two hole pipe strap | EACH
31 | 2" Two hole pipe strap | EACH
32 | 3M CP 25WB+ Fire Barrier Sealant, 10.5 oz., Cartridge Type for caulk gun. Up to 4 hr. rating | EACH
33 | Leviton Part # 49255-Q89. QuickPort 12-Port Patch Panel | EACH
34 | Leviton Part # 40089-D. Mounting bracket for 12-port patch panel | EACH
35 | Leviton GigaMax Cat5e Rack mountable Patch Panel 24 ports Part # 5G596-U24 | EACH
36 | Leviton eXtreme 6+ Rack mountable Patch Panel, 24-Port Part # 69586-U24 | EACH
37 | Middle Atlantic Equipment Rack Model # WRK-40-32 or NNPS approved equivalent floor standing, 70 in tall. Pre-drilled, 19” TIA/EIA mounting, 40(U) Height, 32” deep | EACH
38 | Middle Atlantic Equipment Rack Model # WRK-44-32 or NNPS approved equivalent floor standing, 77 in tall. Pre-drilled, 19” TIA/EIA mounting, 44(U) Height, 32” deep | EACH
39 | Middle Atlantic Equipment Top Panels Model # MW-4FT or NNPS approved equivalent with Laser Knockouts for 4 4-1/2 in. Fans for Middle Atlantic WRK Series Enclosures | EACH
40 | Middle Atlantic Equipment Top Panels Model # MW-QFT-FC or NNPS approved equivalent with Laser Knockouts for 4 4-1/2 in. Includes quiet fans and fan controller for Middle Atlantic WRK Series Enclosures | EACH
41 | Middle Atlantic Equipment Side Panels (Pair) Model # SPN-44-312 or NNPS approved equivalent for WRK Series Enclosures | EACH
42 | Middle Atlantic Equipment Side Panels (Pair) Model # SPN-40-312 or NNPS approved equivalent for WRK Series Enclosures | EACH
43 | Middle Atlantic QFAN Equipment Rack Fan Model # QFAN or NNPS approved equivalent 4.5 in. 50 CFM Quiet AC Fan with Finger Guard | EACH
44 | Middle Atlantic Wall Mount Rack Model # DWR-10-22 or NNPS approved equivalent. Center section hinges for left or right opening, 10(U) Height, 22” Deep | EACH
45 | Middle Atlantic Wall Mount Rack Model # DWR-16-22 or NNPS approved equivalent. Center section hinges for left or right opening, 16(U) Height, 22” Deep | EACH
46 | ALTERNATE BRAND & DESCRIPTION: | EACH
47 | Middle Atlantic Wall Mount Rack Model # DWR-18-22 or NNPS approved equivalent. Center section hinges for left or right opening, 18(U) Height, 22” Deep | EACH
48 | ALTERNATE BRAND & DESCRIPTION:
49 | Middle Atlantic Wall Mount Rack Model # DWR-21-22 or NNPS approved equivalent. Center section hinges for left or right opening, 22(U) Height, 22” Deep | EACH
50 | Middle Atlantic Wall Mount Rack Model # DWR-24-22 or NNPS approved equivalent. Center section hinges for left or right opening, 24(U) Height, 22” Deep | EACH
51 | Middle Atlantic Wall Mount Rack Model # DWR-35-22 or NNPS approved equivalent. Center section hinges for left or right opening, 35(U) Height, 22” Deep | EACH
52 | Middle Atlantic Plexi Front Door for DWR Sectional Wall Mount Racks, Model #PFD-10 or NNPS approved equivalent. | EACH
53 | Middle Atlantic Plexi Front Door for DWR Sectional Wall Mount Racks, Model #PFD-16 or NNPS approved equivalent. | EACH
54 | Middle Atlantic Plexi Front Door for DWR Sectional Wall Mount Racks, Model #PFD-21 or NNPS approved equivalent. | EACH
55 | Middle Atlantic Plexi Front Door for DWR Sectional Wall Mount Racks, Model #PFD-24 or NNPS approved equivalent. | EACH
56 | Middle Atlantic Plexi Front Door for DWR Sectional Wall Mount Racks, Model #PFD-35 or NNPS approved equivalent. | EACH
57 | Middle Atlantic Plexi Front Door for DWR Sectional Wall Mount Racks, Model #PFD-40 or NNPS approved equivalent. | EACH
58 | Middle Atlantic Plexi Front Door for DWR Sectional Wall Mount Racks, Model #PFD-44 or NNPS approved equivalent. | EACH
59 | Middle Atlantic Main Rack Accessories: VCR rack shelf P/N RSH-4S | EACH
60 | Middle Atlantic Main Rack Accessories: 15A Vertical power strip P/N PD-1415C | EACH
61 | Main Rack Accessories: Blank spacer panels 1U | EACH
62 | Main Rack Accessories: Blank spacer panels 2U | EACH
63 | Main Rack Accessories: Blank spacer panels 4U | EACH
64 | Main Rack Accessories: Blank spacer panels 6U | EACH
65 | Middle Atlantic Part # HW500. 500 Piece 10-32 screw w/ washer | EACH
66 | Corning Pretium Connector Housing, 2 Panel Capacity, 1 Unit High # PCH-01U | EACH
67 | Corning Pretium Connector Housing, 4 Panel Capacity, 2 Unit High # PCH-02U | EACH
68 | Corning Pretium Connector Housing, 12 Panel Capacity, 4 Units High # PCH-04U | EACH
69 | Corning SpliceTray Holder for PCH-01U, accomodates 4 Type 2R or 2 Type 4R trays, # PC1-SPLC-04R | EACH
70 | Corning Fusion Splice Tray (0.2"), 6 Fiber Capacity, Heat Shrink, Reduced Length, # M67-068 | EACH
71 | Corning CCH Connector Panel with 12 ST Compatible, MM 50 µm Laser Optimized, Ceramic Insert, Composite Housing, Threaded Adapters # CCH-CP12-E5 | EACH
72 | Corning CCH Connector Panel with 6 LC Compatible, MM 50 µm Laser Optimized, Ceramic Insert, Composite Housing, Threaded Adapters # CCH-CP12-E4 | EACH
73 | Panduit Front and Rear 1U Wire Managers Model# WMP1E | EACH
74 | Panduit Front and Rear 2U Wire Managers Model# WPM2E | EACH
75 | Panduit Front Managers, 1U Model# WMPF1E | EACH
76 | Panduit Front Managers, 2U Model# WMPF2E | EACH
77 | Quiktron Part# 560-110-001 Category 5e Non-booted UTP patch cord 350Mhz 1ft | EACH
78 | Quiktron Part# 560-110-003 Category 5e Non-booted UTP patch cord 350Mhz 3ft | EACH
79 | Quiktron Part# 560-110-005 Category 5e Non-booted UTP patch cord 350Mhz 5ft | EACH
80 | Quiktron Part# 560-110-010 Category 5e Non-booted UTP patch cord 350Mhz 10ft | EACH
81 | Quiktron Part# 560-110-014 Category 5e Non-booted UTP patch cord 350Mhz 14ft | EACH
82 | Quiktron Part# 560-110-025 Category 5e Non-booted UTP patch cord 350Mhz 25ft | EACH
83 | Quiktron Part# 560-110-050 Category 5e Non-booted UTP patch cord 350Mhz 50ft | EACH
84 | Quiktron Part# 566-110-001 Category 6 Non-booted UTP patch cord, 1ft | EACH
85 | Quiktron Part# 566-110-003 Category 6 Non-booted UTP patch cord, 3ft | EACH
86 | Quiktron Part# 566-110-005 Category 6 Non-booted UTP patch cord, 5ft | EACH
87 | Quiktron Part# 566-110-007 Category 6 Non-booted UTP patch cord, 7ft | EACH
88 | Quiktron Part# 566-110-010 Category 6 Non-booted UTP patch cord, 10ft | EACH
89 | Leviton Part # 420801IS Single Gang 1 outlet/connector face plate with name plates | EACH
90 | Leviton Part # 420802IS Single Gang 2 outlet/connector face plate with name plates | EACH
91 | Leviton Part # 420804IS Single Gang 4 outlet/connector face plate with name plates | EACH
92 | Leviton Part # 420806IS Single Gang 6 outlet/connector face plate with name plates | EACH
93 | Leviton Part # 5G108-RL5 Category 5e RJ-45 Quick Port Connector | EACH
94 | Leviton Part # 61110-RL6 eXtreme® 6+ RJ-45 Quick Port Connector | EACH
95 | Leviton Part# 41108-RL3 Category 3 RJ-11 Quick Port Connector | EACH
96 | Leviton blank inserts Pack of 10 Part # 41084-BIB | EACH
97 | Leviton Part # 41290-DMI. MOS Wall plate, dual-gang, ivory | EACH
98 | Leviton Part # 41290-SMI. MOS Wall plate, single-gang, ivory | EACH
99 | Leviton Part # 41291-2QI. MOS Insert, 2-port QuickPort Adapter, 1 unit high, Ivory | EACH
100 | Leviton Part # 41293-HDI. MOS Insert, HD 15 Video Connector, Female-to-Female, Ivory | EACH
101 | Leviton Part # 41290-HDI. MOS HDMI insert, ivory | EACH
102 | Leviton Part # 40830-BIE. QuickPort RCA, Gold-Plated Connector with Black Stripe, Ivory | EACH
103 | Leviton Part # 40830-BIL. QuickPort RCA, Gold Plated Connector with Blue Stripe, Ivory | EACH
104 | Leviton Part # 40830-BIR. QuickPort RCA, Gold-Plated Connector with Red Stripe, Ivory | EACH
105 | Leviton Part # 40830-BIV. QuickPort RCA, Gold Plated Connector with Green Stripe, Ivory | EACH
106 | Leviton Part # 40830-BIY. QuickPort RCA, Gold Plated Connector with Yellow Stripe, Ivory | EACH
107 | Leviton Part # 40831-BI. QuickPort F-Type Adapter, Gold-Plated, Ivory | EACH
108 | Leviton Part # 41087-2IP. QuickPort Duplex Type 106 insert, 2 port, ivory | EACH
109 | Leviton Part # 41087-QIP. QuickPort Duplex Type 106 insert, 4 port, ivory | EACH
110 | Leviton Part # 80401-I. Decora Faceplate, Ivory | EACH
111 | Leviton Part # 41642-I. QuickPort Decora insert, 2 port, ivory | EACH
112 | Leviton Part # 41644-I. QuickPort Decora insert, 4 port, ivory | EACH
113 | Leviton Part # 41646-I. QuickPort Decora insert, 6 port, ivory | EACH
114 | Leviton Part # 40834-I. QuickPort HDMI connector, ivory | EACH
115 | Wiremold Part # V5741. Single Gang Switch & Receptacle Box, Flush type | EACH
116 | Wiremold Part # V5751. Single Gang Switch & Receptacle Box, Flush type | EACH
117 | Wiremold Part # V5751-2. Double Gang Switch & Receptacle Box, Flush type | EACH
118 | Wiremold Part # V5747. Single Gang Switch & Receptacle Box | EACH
119 | Wiremold Part # V5744. Single Gang Switch & Receptacle Box, extra deep | EACH
120 | Wiremold Part # V5744-2. Double Gang Switch & Receptacle Box, extra deep | EACH
121 | Leviton Part # 40066-M50. 66M1-50 connecting block, with hinged cover, 89D brackets and all mounting hardware | EACH
122 | Siemon Co Part # M1-50R. 66 Block with 25Pair Female Connector | EACH
123 | Allen Tel Part # AT630B-6. Wall phone plate | EACH
124 | Allen Tel Part # AT812-00. 12' Black telephone handset cord | EACH
125 | Allen Tel Part # 25-3-PP-15-GY. 15' 25 Pair Teleco MM cable | EACH
126 | Allen Tel Part # 25-3-PP-25-GY. 25' 25 Pair Teleco MM cable | EACH
127 | 4 pair terminator strips for the 110 wiring block | EACH
128 | 5 pair terminator strips for the 110 wiring block | EACH
129 | Quiktron Part# 810-112-003. Multimode fiber jumper 62.5/125 ST-ST 1M | EACH
130 | Quiktron Part# 810-112-006. Multimode fiber jumper 62.5/125 ST-ST 2M | EACH
131 | Quiktron Part# 810-112-009. Multimode fiber jumper 62.5/125 ST-ST 3M | EACH
132 | Quiktron Part# 810-112-017. Multimode fiber jumper 62.5/125 ST-ST 5M | EACH
133 | Quiktron Part# 810-132-003. Multimode fiber jumper 62.5/125 ST-SC 1M | EACH
134 | Quiktron Part# 810-132-006. Multimode fiber jumper 62.5/125 ST-SC 2M | EACH
135 | Quiktron Part# 810-132-009. Multimode fiber jumper 62.5/125 ST-SC 3M | EACH
136 | Quiktron Part# 810-132-17. Multimode fiber jumper 62.5/125 ST-SC 5M | EACH
137 | Quiktron Part# 811-012-003. Multimode fiber jumper 62.5/125 ST-MTRJ 1M | EACH
138 | Quiktron Part# 811-012-006. Multimode fiber jumper 62.5/125 ST-MTRJ 2M | EACH
139 | Quiktron Part# 811-012-009. Multimode fiber jumper 62.5/125 ST-MTRJ 3M | EACH
140 | Quiktron Part# 811-012-017. Multimode fiber jumper 62.5/125 ST-MTRJ 5M | EACH
141 | Quiktron Part# 810-L12-003 . Multimode fiber jumper 62.5/125 ST-LC 1M | EACH
142 | Quiktron Part# 810-L12-006 . Multimode fiber jumper 62.5/125 ST-LC 2M | EACH
143 | Quiktron Part# 810-L12-009. Multimode fiber jumper 62.5/125 ST-LC 3M | EACH
144 | Quiktron Part# 810-L12-017. Multimode fiber jumper 62.5/125 ST-LC 5M | EACH
145 | Quiktron Part # 850-L12-003. Multimode fiber jumper 50/125 ST-LC 1M | EACH
146 | Quiktron Part # 850-L12-006. Multimode fiber jumper 50/125 ST-LC 2M | EACH
147 | Quiktron Part # 850-L12-009. Multimode fiber jumper 50/125 ST-LC 3M | EACH
148 | Quiktron Part# 850-L12-017. Multimode fiber jumper 50/125 ST-LC 5M | EACH
149 | Quiktron Part# 850-LL2-003. Multimode fiber jumper 50/125 LC-LC 1M | EACH
150 | Quiktron Part# 850-LL2-006. Multimode fiber jumper 50/125 LC-LC 2M | EACH
151 | Quiktron Part # 850-LL2-009. Multimode fiber jumper 50/125 LC-LC 3M | EACH
152 | Quiktron Part# 850-LL2-0017. Multimode fiber jumper 50/125 LC-LC 5M | EACH
153 | Quiktron Part # 820-447-003 Duplex fiber jumper Single Mode SC-SC 1M | EACH
154 | Quiktron Part # 820-447-006 Duplex fiber jumper Single Mode SC-SC 2M | EACH
155 | Quiktron Part # 820-447-009 Duplex fiber jumper Single Mode SC-SC 3M | EACH
156 | Quiktron Part # 820-447-017 Duplex fiber jumper Single Mode SC-SC 5M | EACH
157 | Quiktron Part # 810-L47-003. Duplex fiber jumper Single Mode SC-LC 1M | EACH
158 | Quiktron Part # 810-L47-006. Duplex fiber jumper Single Mode SC-LC 2M | EACH
159 | Quiktron Part # 810-L47-009. Duplex fiber jumper Single Mode SC-LC 3M | EACH
160 | Quiktron Part # 810-L47-017. Duplex fiber jumper Single Mode SC-LC 5M | EACH
161 | Quiktron Part # 2003-40511-025. 25ft Plenum-Rated HD15 SXGA M/M Monitor/Projector Cable with Low Profile Connectors | EACH
162 | Quiktron Part # 2003-40513-050. 50ft Plenum-Rated HD15 SXGA M/M Monitor/Projector Cable with Low Profile Connectors | EACH
163 | Quiktron Part # 2003-40257-050. 50ft Plenum-Rated HD15 UXGA M/M Monitor/Projector Cable | EACH
164 | Quiktron Part #. 2221-40524-025. 25ft Plenum-Rated Composite Video with Stereo Audio Cable | EACH
165 | Quiktron Part # 2220-40774-050. 50ft Plenum-Rated Composite Video + RCA Stereo Audio Cable | EACH
166 | Quiktron Part # 2101-41191-025. 25ft Pro Series Plenum HDMI® Cable | EACH
167 | Quiktron Part # 2101-41193-050. 50ft Pro Series Plenum HDMI® Cable | EACH
168 | Quiktron Part # 2003-40516-025. 25ft Plenum 3.5mm M/M Stereo Audio Low Profile Cable | EACH
169 | Quiktron Part # 2003-40518-050. 50ft Plenum 3.5mm M/M Stereo Audio Low Profile Cable | EACH
170 | Quiktron Part # 2101-40420-ADT. 90° Rotating HDMI® Female to HDMI® Male Port | EACH
171 | Quiktron Part # 2101-40303-003. 1m Value Series™ High Speed HDMI® Cable | EACH
172 | Quiktron Part # 2101-40305-009. 3m Value Series™ High Speed HDMI® Cable | EACH
173 | Velcro Part # 170091. Velcro wrap strap, 3/4" x 8". 900 piece spool | EACH
174 | Panduit Part # BT2S-M. Cable Tie Metal Barb, 8"L for use in plenum spaces. 1000 Pack | EACH
175 | Panduit Part # BT3S-M. Cable Tie Metal Barb, 12.0"L for use in plenum spaces. 1000 Pack | EACH
176 | Ideal Part # 86-030. Quad Shield, F-Connector RG-6, 100/bag | EACH
177 | Ideal Part # 92-656. RG-6 Reg/Tri/Quad Compression F-Connector, Jar of 100 | EACH
178 | Panduit Part # LD10EI6-A. Low Voltage 1-piece Single Channel Raceway with Adh. 6ft., Ivory | EACH
179 | Panduit Part # LD10EI8-A. Low Voltage 1-piece Single Channel Raceway with Adh. 8ft., Ivory | EACH
180 | Panduit Part # TF10EI-X. LD10 Low Voltage Tee Fitting | EACH
181 | Panduit Part # DCF10EI. LD10 Low Voltage Drop Ceiling / Entrance End Fitting | EACH
182 | Panduit Part # RAF10EI-X. LD10 Low Voltage Right Angle Fitting | EACH
183 | Panduit Part # ICF10EI-X. LD10 Low Voltage Inside Corner Fitting | EACH
184 | Panduit Part # OCF10EI-X. LD10 Low Voltage Outside Corner Fitting | EACH
185 | Panduit Part # CF10EI-X. LD10 Low Voltage Coupler Fitting | EACH
186 | AMP Part # 5-554720-3. Box of 100 RJ-45 connectors, solid core cooper | EACH
187 | 3M Part # UY2. Box of 100 Scotchlok Connectors. | EACH
188 | Continuous-fiber polyline rated 200 lb. tensile strength. Rated not to rot or mildew. | FOOT
189 | Bogen HTA250A Single-channel 250W amp w/distribution transformer | EACH
190 | Bogen MCRMF Multicom Chassis | EACH
191 | Bogen QSPC1 Quantum Master Card | EACH
192 | Bogen MCSC Station Card | EACH
193 | Bogen MCACB Analog Card | EACH
194 | Bogen DST1 Digital Stereo AM/FM Tuner | EACH
195 | Bogen MCDS4 Administration Phone (includes PS4 power supply) | EACH
196 | Bogen MC512B Power Supply | EACH
197 | Bogen MC512Y2MC512 Y Extension Cable | EACH
198 | Bogen MC2626B Power Supply | EACH
199 | Bogen MCEAC Connector Cable for External Amplifier | EACH
200 | Bogen MCRCA45" Ribbon Cable Assembly | EACH
201 | Bogen MCRCA6060" Ribbon Cable Assembly | EACH
202 | Bogen SAX1R Stereo Input Module | EACH
203 | Bogen SPT-15A Exterior Horn Loudspeaker | EACH
204 | Bogen FMH15T Flange-Mounted Reentrant Horn Loudspeaker, 15, 7.0, 1.8, 0.9, 0.5, 0.25, or 0.125 watts for 25V systems | EACH
205 | Bogen BBFM6 Flush Mount Enclosure | EACH
206 | Bogen SGHD8Grille, Heavy-duty, Square, Off-white, Cast Aluminum w/Finely Perforated Mesh Insert | EACH
207 | Bogen FMHAR8 Adapter Ring, Fits FMH15T to 8" Speaker Opening of SGHD8 Grille | EACH
208 | Bogen MCTCA Telephone System Interface Card - 8 lines | EACH
209 | Bogen MCRRP Rack Panel for MCRM (Includes MCRM), 1-3/4" H | EACH
210 | Bogen MCOC Connector Card Assembly | EACH
211 | Bogen MCOCA Cable, 12" (Rack-Mounted systems only) | EACH
212 | Bogen RE84 Back Can | EACH
213 | Bogen TB8 Tile Bridge | EACH
214 | Bogen S86T725PG8W Ceiling Speaker | EACH
215 | Bogen MCAPI2 Audio Program Card Cage | EACH
216 | Bogen MCRMP Power Supply Rack Mounting Plate, 10-1/2" | EACH
217 | Bogen 252230 Pcs Connector Kit | EACH
218 | Middle Atlantic MV-RR44Rear Rack Rail Kit | EACH
219 | Middle Atlantic LACE-PVertical Lacing Rail | EACH
220 | Middle Atlantic LF Leveling Feet, Pack of 4 | EACH
221 | Tascam CD-200BTCD Player, Blue Tooth Receiver | EACH
222 | Bogen BCMA-3R0-1000-1BCMA 3000 Series Master Clock w/Wireless Transmitter, Rack Mount, IP Correction | EACH
223 | Bogen BCMA-1SM-0000-1 Wireless Repeater | EACH
224 | Bogen BCAL-2BS-12R-0Battery Operated Wireless Clocks, BCAL Series, 12" Round, Single Surface Mount, Analog | EACH
225 | Duracell E-DBATT Duracell PROCELL D Cell Battery | EACH
226 | Bogen BC35-M025 Transformer, 20KVA | EACH
227 | Bogen 35-MO30 Transformer, 30KVA | EACH
228 | Bogen BCBL-31S-404-4RSBL 1000 Series Wireless Digital Clock, 4.0" High Display, 4 Digit, 24V | EACH
229 | Bogen BCBD-008-404-0 Double Mount Black Metal Housing | EACH
230 | Bogen CA10A Call in Switch | EACH
231 | Bogen AT10A 10W Volume Knob | EACH
232 | Bogen CSD2X2U drop in speaker | EACH
233 | BOGEN NQ-SYSCTRL NYQUIST SYSTEM CONTROLLER | EACH
234 | BOGEN NQ-E7SWLMAINT5X NYQUIST 5-YEAR EXTENDED S/W UPDATE SUBSCRIPTION - SYSTEM LICENSE | EACH
235 | BOGEN NQ-E7SSLMAINT5X NYQUIST 5-YEAR EXTENDED S/W UPDATE SUBSCRIPTION - STATION LICENSES | EACH
236 | BOGEN NQ-E7CCLMAINT5X NYQUIST 5-YEAR EXTENDED S/W UPDATE SUBSCRIPTION - CONCURRENT CALL LICENSES | EACH
237 | VIDEO MOUNT PRODUCTS EREN-27 EQUIPMENT RACK ENCLOUSRE 27U | EACH
238 | TRENDNET 16-PORT GREENNET GIGABIT SWITCH | EACH
239 | FURMAN M-8X2 POWERLINE CONDITIONER AND SURGE PROTECTOR | EACH
240 | Tappan P20032.1X 22/2 Shielded, 1K, Plenum | FOOT
241 | Tappan P20032.1X 22/4 Shielded, 1K, Plenum | FOOT
| Line Items 1-241 | TOTAL
| Attachment "B" Totals | $

## Scenario
IFB 016-0-2026/HM
SCENARIO QUOTE EXERCISE DATA
ATTACHMENT A: Labor Rates
PRICES: shall be in the form of a firm fixed unit price for each item during the contract term.
Equipment Pricing
LINE ITEM | Description | UOM | PRICE
1 | Installation, terminatin, and testing of Fiber Optic Cabling, excluding cost of incidental materials (connectors, faceplates, J hooks, cable ties, cable routing hardware, patch cords, wire managers, etc) per hour | HOUR
2 | Installation, terminatin, and testing of Category 5, 6, 6A cabling, excluding cost of incidental materials (connectors, faceplates, J hooks, cable ties, cable routing hardware, patch cords, wire managers, etc) per hour | HOUR
3 | Removal, transport, installation, and testing of NNPS owned Interactive Panels per hour | HOUR
| Average Price of Line Items 1, 2, and 3 | TOTAL
ATTACHMENT B: PRICING SCHEDULE
LOT 2
PRICES: shall be in the form of a firm fixed unit price for each item during the contract term.
Equipment Pricing
LINE ITEM | Description | UOM | PRICE
1 | 1000’ Spool Superior Essex Marathon LAN Cat5e CMP (plenum) cable Part # 51-241-28 | FOOT
2 | 1000’ Spool Superior Essex Marathon LAN Cat5e CMR (non-plenum) cable Part # 51-240-25 | FOOT
3 | 1000’ Spool Superior Essex Series 77 Cat 6 CMP (plenum) cable Part # 77-240-2B | FOOT
4 | 1000’ Spool Superior Essex Series 77 Cat 6 CMR (non-plenum) cable Part # 77-240-2A | FOOT
5 | 1000’ Spool Superior Essex RG-6 Coax 80% Shielded CMP (plenum) cable Part # 78-16C-91 | FOOT
6 | 1000’ Spool Superior Essex Trunk cable, Voice Backbone, Cat3 25 pair CMR (plenum) Part # 18-475-36 | FOOT
7 | 1000’ Spool Corning Part # 012S88-33190-29 MIC Plenum Rated Cable, 12-Fiber multimode with laser-optimized Pretium-550 50 µm fiber. Must comply with Laser Multimode Fiber specifications in ANSI/EIA/TIA/492AAAC, OM3 Specifications in ISO/IEC 11801 2nd edition, and EN50173 2nd Edition. | FOOT
8 | 1000’ Spool Corning Part # 012S88-33180-29 MIC Plenum Rated Cable, 12-Fiber multimode with laser-optimized Pretium-300 50 µm fiber orange jacket, Must comply with Laser Multimode Fiber specifications in ANSI/EIA/TIA/492AAAC, OM3 Specifications in ISO/IEC 11801 2nd edition, and EN50173 2nd Edition. | FOOT
9 | 1000’ Spool Corning Part # 012k88-33130-29 Plenum Rated Cable, 12-Fiber multimode 62.5, orange jacket Must comply with Laser Multimode Fiber specifications in ANSI/EIA/TIA/492AAAC, OM3 Specifications in ISO/IEC 11801 2nd edition, and EN50173 2nd Edition. | FOOT
10 | 1000' Spool Corning Part # 012E88-33131-29 MIC Plenum Rated Cable, 12-Fiber singlemode (OS2) | FOOT
11 | 1000’ Spool TF Trunk Cable RG-11 Superior ESSEX RG11 Plenum | FOOT
12 | 1000’ Spool of 18/2 Stranded Non-shielded Plenum cable (PTZ security camera cabling, security, speaker) TAPPAN Wire Part# 1880AB2/CMP | FOOT
13 | 1000’ Spool of 22/2c Stranded Shld Plenum TAPPAN Wire Part# 2280AB2M/CMP | FOOT
14 | 1000’ Spool Plenum-rated innerduct (duct only) 1” | FOOT
15 | 1000’ Spool Plenum-rated innerduct (duct only) 1 1/4” | FOOT
16 | 1000’ Spool Plenum-rated innerduct (duct only) 2” | FOOT
17 | 1000’ Spool Riser-rated innerduct (duct only) 1” | FOOT
18 | 1000’ Spool Riser-rated innerduct (duct only) 1 1/4” | FOOT
19 | 1000’ Spool Riser-rated innerduct (duct only) 2” | FOOT
20 | Erico Part # CAT32. Cable Hanger 2 'Loop Dia. "J Hook" | EACH
21 | Arlington Industries - MBC25 - MALLEABLE IRON 1/4 BEAM CLAMP | EACH
22 | 3/4" Rigid EMT-Pipe and Conduit Hanger | EACH
23 | 1" Rigid EMT-Pipe and Conduit Hanger | EACH
24 | 1 1/4" Rigid EMT-Pipe and Conduit Hanger | EACH
25 | 1 1/2" Rigid EMT-Pipe and Conduit Hanger | EACH
26 | 2" Rigid EMT-Pipe and Conduit Hanger | EACH
27 | 3/4" Two hole pipe strap | EACH
28 | 1" Two hole pipe strap | EACH
29 | 1 1/4" Two hole pipe strap | EACH
30 | 1 1/2" Two hole pipe strap | EACH
31 | 2" Two hole pipe strap | EACH
32 | 3M CP 25WB+ Fire Barrier Sealant, 10.5 oz., Cartridge Type for caulk gun. Up to 4 hr. rating | EACH
33 | Leviton Part # 49255-Q89. QuickPort 12-Port Patch Panel | EACH
34 | Leviton Part # 40089-D. Mounting bracket for 12-port patch panel | EACH
35 | Leviton GigaMax Cat5e Rack mountable Patch Panel 24 ports Part # 5G596-U24 | EACH
36 | Leviton eXtreme 6+ Rack mountable Patch Panel, 24-Port Part # 69586-U24 | EACH
37 | Middle Atlantic Equipment Rack Model # WRK-40-32 or NNPS approved equivalent floor standing, 70 in tall. Pre-drilled, 19” TIA/EIA mounting, 40(U) Height, 32” deep | EACH
38 | Middle Atlantic Equipment Rack Model # WRK-44-32 or NNPS approved equivalent floor standing, 77 in tall. Pre-drilled, 19” TIA/EIA mounting, 44(U) Height, 32” deep | EACH
39 | Middle Atlantic Equipment Top Panels Model # MW-4FT or NNPS approved equivalent with Laser Knockouts for 4 4-1/2 in. Fans for Middle Atlantic WRK Series Enclosures | EACH
40 | Middle Atlantic Equipment Top Panels Model # MW-QFT-FC or NNPS approved equivalent with Laser Knockouts for 4 4-1/2 in. Includes quiet fans and fan controller for Middle Atlantic WRK Series Enclosures | EACH
41 | Middle Atlantic Equipment Side Panels (Pair) Model # SPN-44-312 or NNPS approved equivalent for WRK Series Enclosures | EACH
42 | Middle Atlantic Equipment Side Panels (Pair) Model # SPN-40-312 or NNPS approved equivalent for WRK Series Enclosures | EACH
43 | Middle Atlantic QFAN Equipment Rack Fan Model # QFAN or NNPS approved equivalent 4.5 in. 50 CFM Quiet AC Fan with Finger Guard | EACH
44 | Middle Atlantic Wall Mount Rack Model # DWR-10-22 or NNPS approved equivalent. Center section hinges for left or right opening, 10(U) Height, 22” Deep | EACH
45 | Middle Atlantic Wall Mount Rack Model # DWR-16-22 or NNPS approved equivalent. Center section hinges for left or right opening, 16(U) Height, 22” Deep | EACH
46 | ALTERNATE BRAND & DESCRIPTION: | EACH
47 | Middle Atlantic Wall Mount Rack Model # DWR-18-22 or NNPS approved equivalent. Center section hinges for left or right opening, 18(U) Height, 22” Deep | EACH
48 | ALTERNATE BRAND & DESCRIPTION:
49 | Middle Atlantic Wall Mount Rack Model # DWR-21-22 or NNPS approved equivalent. Center section hinges for left or right opening, 22(U) Height, 22” Deep | EACH
50 | Middle Atlantic Wall Mount Rack Model # DWR-24-22 or NNPS approved equivalent. Center section hinges for left or right opening, 24(U) Height, 22” Deep | EACH
51 | Middle Atlantic Wall Mount Rack Model # DWR-35-22 or NNPS approved equivalent. Center section hinges for left or right opening, 35(U) Height, 22” Deep | EACH
52 | Middle Atlantic Plexi Front Door for DWR Sectional Wall Mount Racks, Model #PFD-10 or NNPS approved equivalent. | EACH
53 | Middle Atlantic Plexi Front Door for DWR Sectional Wall Mount Racks, Model #PFD-16 or NNPS approved equivalent. | EACH
54 | Middle Atlantic Plexi Front Door for DWR Sectional Wall Mount Racks, Model #PFD-21 or NNPS approved equivalent. | EACH
55 | Middle Atlantic Plexi Front Door for DWR Sectional Wall Mount Racks, Model #PFD-24 or NNPS approved equivalent. | EACH
56 | Middle Atlantic Plexi Front Door for DWR Sectional Wall Mount Racks, Model #PFD-35 or NNPS approved equivalent. | EACH
57 | Middle Atlantic Plexi Front Door for DWR Sectional Wall Mount Racks, Model #PFD-40 or NNPS approved equivalent. | EACH
58 | Middle Atlantic Plexi Front Door for DWR Sectional Wall Mount Racks, Model #PFD-44 or NNPS approved equivalent. | EACH
59 | Middle Atlantic Main Rack Accessories: VCR rack shelf P/N RSH-4S | EACH
60 | Middle Atlantic Main Rack Accessories: 15A Vertical power strip P/N PD-1415C | EACH
61 | Main Rack Accessories: Blank spacer panels 1U | EACH
62 | Main Rack Accessories: Blank spacer panels 2U | EACH
63 | Main Rack Accessories: Blank spacer panels 4U | EACH
64 | Main Rack Accessories: Blank spacer panels 6U | EACH
65 | Middle Atlantic Part # HW500. 500 Piece 10-32 screw w/ washer | EACH
66 | Corning Pretium Connector Housing, 2 Panel Capacity, 1 Unit High # PCH-01U | EACH
67 | Corning Pretium Connector Housing, 4 Panel Capacity, 2 Unit High # PCH-02U | EACH
68 | Corning Pretium Connector Housing, 12 Panel Capacity, 4 Units High # PCH-04U | EACH
69 | Corning SpliceTray Holder for PCH-01U, accomodates 4 Type 2R or 2 Type 4R trays, # PC1-SPLC-04R | EACH
70 | Corning Fusion Splice Tray (0.2"), 6 Fiber Capacity, Heat Shrink, Reduced Length, # M67-068 | EACH
71 | Corning CCH Connector Panel with 12 ST Compatible, MM 50 µm Laser Optimized, Ceramic Insert, Composite Housing, Threaded Adapters # CCH-CP12-E5 | EACH
72 | Corning CCH Connector Panel with 6 LC Compatible, MM 50 µm Laser Optimized, Ceramic Insert, Composite Housing, Threaded Adapters # CCH-CP12-E4 | EACH
73 | Panduit Front and Rear 1U Wire Managers Model# WMP1E | EACH
74 | Panduit Front and Rear 2U Wire Managers Model# WPM2E | EACH
75 | Panduit Front Managers, 1U Model# WMPF1E | EACH
76 | Panduit Front Managers, 2U Model# WMPF2E | EACH
77 | Quiktron Part# 560-110-001 Category 5e Non-booted UTP patch cord 350Mhz 1ft | EACH
78 | Quiktron Part# 560-110-003 Category 5e Non-booted UTP patch cord 350Mhz 3ft | EACH
79 | Quiktron Part# 560-110-005 Category 5e Non-booted UTP patch cord 350Mhz 5ft | EACH
80 | Quiktron Part# 560-110-010 Category 5e Non-booted UTP patch cord 350Mhz 10ft | EACH
81 | Quiktron Part# 560-110-014 Category 5e Non-booted UTP patch cord 350Mhz 14ft | EACH
82 | Quiktron Part# 560-110-025 Category 5e Non-booted UTP patch cord 350Mhz 25ft | EACH
83 | Quiktron Part# 560-110-050 Category 5e Non-booted UTP patch cord 350Mhz 50ft | EACH
84 | Quiktron Part# 566-110-001 Category 6 Non-booted UTP patch cord, 1ft | EACH
85 | Quiktron Part# 566-110-003 Category 6 Non-booted UTP patch cord, 3ft | EACH
86 | Quiktron Part# 566-110-005 Category 6 Non-booted UTP patch cord, 5ft | EACH
87 | Quiktron Part# 566-110-007 Category 6 Non-booted UTP patch cord, 7ft | EACH
88 | Quiktron Part# 566-110-010 Category 6 Non-booted UTP patch cord, 10ft | EACH
89 | Leviton Part # 420801IS Single Gang 1 outlet/connector face plate with name plates | EACH
90 | Leviton Part # 420802IS Single Gang 2 outlet/connector face plate with name plates | EACH
91 | Leviton Part # 420804IS Single Gang 4 outlet/connector face plate with name plates | EACH
92 | Leviton Part # 420806IS Single Gang 6 outlet/connector face plate with name plates | EACH
93 | Leviton Part # 5G108-RL5 Category 5e RJ-45 Quick Port Connector | EACH
94 | Leviton Part # 61110-RL6 eXtreme® 6+ RJ-45 Quick Port Connector | EACH
95 | Leviton Part# 41108-RL3 Category 3 RJ-11 Quick Port Connector | EACH
96 | Leviton blank inserts Pack of 10 Part # 41084-BIB | EACH
97 | Leviton Part # 41290-DMI. MOS Wall plate, dual-gang, ivory | EACH
98 | Leviton Part # 41290-SMI. MOS Wall plate, single-gang, ivory | EACH
99 | Leviton Part # 41291-2QI. MOS Insert, 2-port QuickPort Adapter, 1 unit high, Ivory | EACH
100 | Leviton Part # 41293-HDI. MOS Insert, HD 15 Video Connector, Female-to-Female, Ivory | EACH
101 | Leviton Part # 41290-HDI. MOS HDMI insert, ivory | EACH
102 | Leviton Part # 40830-BIE. QuickPort RCA, Gold-Plated Connector with Black Stripe, Ivory | EACH
103 | Leviton Part # 40830-BIL. QuickPort RCA, Gold Plated Connector with Blue Stripe, Ivory | EACH
104 | Leviton Part # 40830-BIR. QuickPort RCA, Gold-Plated Connector with Red Stripe, Ivory | EACH
105 | Leviton Part # 40830-BIV. QuickPort RCA, Gold Plated Connector with Green Stripe, Ivory | EACH
106 | Leviton Part # 40830-BIY. QuickPort RCA, Gold Plated Connector with Yellow Stripe, Ivory | EACH
107 | Leviton Part # 40831-BI. QuickPort F-Type Adapter, Gold-Plated, Ivory | EACH
108 | Leviton Part # 41087-2IP. QuickPort Duplex Type 106 insert, 2 port, ivory | EACH
109 | Leviton Part # 41087-QIP. QuickPort Duplex Type 106 insert, 4 port, ivory | EACH
110 | Leviton Part # 80401-I. Decora Faceplate, Ivory | EACH
111 | Leviton Part # 41642-I. QuickPort Decora insert, 2 port, ivory | EACH
112 | Leviton Part # 41644-I. QuickPort Decora insert, 4 port, ivory | EACH
113 | Leviton Part # 41646-I. QuickPort Decora insert, 6 port, ivory | EACH
114 | Leviton Part # 40834-I. QuickPort HDMI connector, ivory | EACH
115 | Wiremold Part # V5741. Single Gang Switch & Receptacle Box, Flush type | EACH
116 | Wiremold Part # V5751. Single Gang Switch & Receptacle Box, Flush type | EACH
117 | Wiremold Part # V5751-2. Double Gang Switch & Receptacle Box, Flush type | EACH
118 | Wiremold Part # V5747. Single Gang Switch & Receptacle Box | EACH
119 | Wiremold Part # V5744. Single Gang Switch & Receptacle Box, extra deep | EACH
120 | Wiremold Part # V5744-2. Double Gang Switch & Receptacle Box, extra deep | EACH
121 | Leviton Part # 40066-M50. 66M1-50 connecting block, with hinged cover, 89D brackets and all mounting hardware | EACH
122 | Siemon Co Part # M1-50R. 66 Block with 25Pair Female Connector | EACH
123 | Allen Tel Part # AT630B-6. Wall phone plate | EACH
124 | Allen Tel Part # AT812-00. 12' Black telephone handset cord | EACH
125 | Allen Tel Part # 25-3-PP-15-GY. 15' 25 Pair Teleco MM cable | EACH
126 | Allen Tel Part # 25-3-PP-25-GY. 25' 25 Pair Teleco MM cable | EACH
127 | 4 pair terminator strips for the 110 wiring block | EACH
128 | 5 pair terminator strips for the 110 wiring block | EACH
129 | Quiktron Part# 810-112-003. Multimode fiber jumper 62.5/125 ST-ST 1M | EACH
130 | Quiktron Part# 810-112-006. Multimode fiber jumper 62.5/125 ST-ST 2M | EACH
131 | Quiktron Part# 810-112-009. Multimode fiber jumper 62.5/125 ST-ST 3M | EACH
132 | Quiktron Part# 810-112-017. Multimode fiber jumper 62.5/125 ST-ST 5M | EACH
133 | Quiktron Part# 810-132-003. Multimode fiber jumper 62.5/125 ST-SC 1M | EACH
134 | Quiktron Part# 810-132-006. Multimode fiber jumper 62.5/125 ST-SC 2M | EACH
135 | Quiktron Part# 810-132-009. Multimode fiber jumper 62.5/125 ST-SC 3M | EACH
136 | Quiktron Part# 810-132-17. Multimode fiber jumper 62.5/125 ST-SC 5M | EACH
137 | Quiktron Part# 811-012-003. Multimode fiber jumper 62.5/125 ST-MTRJ 1M | EACH
138 | Quiktron Part# 811-012-006. Multimode fiber jumper 62.5/125 ST-MTRJ 2M | EACH
139 | Quiktron Part# 811-012-009. Multimode fiber jumper 62.5/125 ST-MTRJ 3M | EACH
140 | Quiktron Part# 811-012-017. Multimode fiber jumper 62.5/125 ST-MTRJ 5M | EACH
141 | Quiktron Part# 810-L12-003 . Multimode fiber jumper 62.5/125 ST-LC 1M | EACH
142 | Quiktron Part# 810-L12-006 . Multimode fiber jumper 62.5/125 ST-LC 2M | EACH
143 | Quiktron Part# 810-L12-009. Multimode fiber jumper 62.5/125 ST-LC 3M | EACH
144 | Quiktron Part# 810-L12-017. Multimode fiber jumper 62.5/125 ST-LC 5M | EACH
145 | Quiktron Part # 850-L12-003. Multimode fiber jumper 50/125 ST-LC 1M | EACH
146 | Quiktron Part # 850-L12-006. Multimode fiber jumper 50/125 ST-LC 2M | EACH
147 | Quiktron Part # 850-L12-009. Multimode fiber jumper 50/125 ST-LC 3M | EACH
148 | Quiktron Part# 850-L12-017. Multimode fiber jumper 50/125 ST-LC 5M | EACH
149 | Quiktron Part# 850-LL2-003. Multimode fiber jumper 50/125 LC-LC 1M | EACH
150 | Quiktron Part# 850-LL2-006. Multimode fiber jumper 50/125 LC-LC 2M | EACH
151 | Quiktron Part # 850-LL2-009. Multimode fiber jumper 50/125 LC-LC 3M | EACH
152 | Quiktron Part# 850-LL2-0017. Multimode fiber jumper 50/125 LC-LC 5M | EACH
153 | Quiktron Part # 820-447-003 Duplex fiber jumper Single Mode SC-SC 1M | EACH
154 | Quiktron Part # 820-447-006 Duplex fiber jumper Single Mode SC-SC 2M | EACH
155 | Quiktron Part # 820-447-009 Duplex fiber jumper Single Mode SC-SC 3M | EACH
156 | Quiktron Part # 820-447-017 Duplex fiber jumper Single Mode SC-SC 5M | EACH
157 | Quiktron Part # 810-L47-003. Duplex fiber jumper Single Mode SC-LC 1M | EACH
158 | Quiktron Part # 810-L47-006. Duplex fiber jumper Single Mode SC-LC 2M | EACH
159 | Quiktron Part # 810-L47-009. Duplex fiber jumper Single Mode SC-LC 3M | EACH
160 | Quiktron Part # 810-L47-017. Duplex fiber jumper Single Mode SC-LC 5M | EACH
161 | Quiktron Part # 2003-40511-025. 25ft Plenum-Rated HD15 SXGA M/M Monitor/Projector Cable with Low Profile Connectors | EACH
162 | Quiktron Part # 2003-40513-050. 50ft Plenum-Rated HD15 SXGA M/M Monitor/Projector Cable with Low Profile Connectors | EACH
163 | Quiktron Part # 2003-40257-050. 50ft Plenum-Rated HD15 UXGA M/M Monitor/Projector Cable | EACH
164 | Quiktron Part #. 2221-40524-025. 25ft Plenum-Rated Composite Video with Stereo Audio Cable | EACH
165 | Quiktron Part # 2220-40774-050. 50ft Plenum-Rated Composite Video + RCA Stereo Audio Cable | EACH
166 | Quiktron Part # 2101-41191-025. 25ft Pro Series Plenum HDMI® Cable | EACH
167 | Quiktron Part # 2101-41193-050. 50ft Pro Series Plenum HDMI® Cable | EACH
168 | Quiktron Part # 2003-40516-025. 25ft Plenum 3.5mm M/M Stereo Audio Low Profile Cable | EACH
169 | Quiktron Part # 2003-40518-050. 50ft Plenum 3.5mm M/M Stereo Audio Low Profile Cable | EACH
170 | Quiktron Part # 2101-40420-ADT. 90° Rotating HDMI® Female to HDMI® Male Port | EACH
171 | Quiktron Part # 2101-40303-003. 1m Value Series™ High Speed HDMI® Cable | EACH
172 | Quiktron Part # 2101-40305-009. 3m Value Series™ High Speed HDMI® Cable | EACH
173 | Velcro Part # 170091. Velcro wrap strap, 3/4" x 8". 900 piece spool | EACH
174 | Panduit Part # BT2S-M. Cable Tie Metal Barb, 8"L for use in plenum spaces. 1000 Pack | EACH
175 | Panduit Part # BT3S-M. Cable Tie Metal Barb, 12.0"L for use in plenum spaces. 1000 Pack | EACH
176 | Ideal Part # 86-030. Quad Shield, F-Connector RG-6, 100/bag | EACH
177 | Ideal Part # 92-656. RG-6 Reg/Tri/Quad Compression F-Connector, Jar of 100 | EACH
178 | Panduit Part # LD10EI6-A. Low Voltage 1-piece Single Channel Raceway with Adh. 6ft., Ivory | EACH
179 | Panduit Part # LD10EI8-A. Low Voltage 1-piece Single Channel Raceway with Adh. 8ft., Ivory | EACH
180 | Panduit Part # TF10EI-X. LD10 Low Voltage Tee Fitting | EACH
181 | Panduit Part # DCF10EI. LD10 Low Voltage Drop Ceiling / Entrance End Fitting | EACH
182 | Panduit Part # RAF10EI-X. LD10 Low Voltage Right Angle Fitting | EACH
183 | Panduit Part # ICF10EI-X. LD10 Low Voltage Inside Corner Fitting | EACH
184 | Panduit Part # OCF10EI-X. LD10 Low Voltage Outside Corner Fitting | EACH
185 | Panduit Part # CF10EI-X. LD10 Low Voltage Coupler Fitting | EACH
186 | AMP Part # 5-554720-3. Box of 100 RJ-45 connectors, solid core cooper | EACH
187 | 3M Part # UY2. Box of 100 Scotchlok Connectors. | EACH
188 | Continuous-fiber polyline rated 200 lb. tensile strength. Rated not to rot or mildew. | FOOT
189 | Bogen HTA250A Single-channel 250W amp w/distribution transformer | EACH
190 | Bogen MCRMF Multicom Chassis | EACH
191 | Bogen QSPC1 Quantum Master Card | EACH
192 | Bogen MCSC Station Card | EACH
193 | Bogen MCACB Analog Card | EACH
194 | Bogen DST1 Digital Stereo AM/FM Tuner | EACH
195 | Bogen MCDS4 Administration Phone (includes PS4 power supply) | EACH
196 | Bogen MC512B Power Supply | EACH
197 | Bogen MC512Y2MC512 Y Extension Cable | EACH
198 | Bogen MC2626B Power Supply | EACH
199 | Bogen MCEAC Connector Cable for External Amplifier | EACH
200 | Bogen MCRCA45" Ribbon Cable Assembly | EACH
201 | Bogen MCRCA6060" Ribbon Cable Assembly | EACH
202 | Bogen SAX1R Stereo Input Module | EACH
203 | Bogen SPT-15A Exterior Horn Loudspeaker | EACH
204 | Bogen FMH15T Flange-Mounted Reentrant Horn Loudspeaker, 15, 7.0, 1.8, 0.9, 0.5, 0.25, or 0.125 watts for 25V systems | EACH
205 | Bogen BBFM6 Flush Mount Enclosure | EACH
206 | Bogen SGHD8Grille, Heavy-duty, Square, Off-white, Cast Aluminum w/Finely Perforated Mesh Insert | EACH
207 | Bogen FMHAR8 Adapter Ring, Fits FMH15T to 8" Speaker Opening of SGHD8 Grille | EACH
208 | Bogen MCTCA Telephone System Interface Card - 8 lines | EACH
209 | Bogen MCRRP Rack Panel for MCRM (Includes MCRM), 1-3/4" H | EACH
210 | Bogen MCOC Connector Card Assembly | EACH
211 | Bogen MCOCA Cable, 12" (Rack-Mounted systems only) | EACH
212 | Bogen RE84 Back Can | EACH
213 | Bogen TB8 Tile Bridge | EACH
214 | Bogen S86T725PG8W Ceiling Speaker | EACH
215 | Bogen MCAPI2 Audio Program Card Cage | EACH
216 | Bogen MCRMP Power Supply Rack Mounting Plate, 10-1/2" | EACH
217 | Bogen 252230 Pcs Connector Kit | EACH
218 | Middle Atlantic MV-RR44Rear Rack Rail Kit | EACH
219 | Middle Atlantic LACE-PVertical Lacing Rail | EACH
220 | Middle Atlantic LF Leveling Feet, Pack of 4 | EACH
221 | Tascam CD-200BTCD Player, Blue Tooth Receiver | EACH
222 | Bogen BCMA-3R0-1000-1BCMA 3000 Series Master Clock w/Wireless Transmitter, Rack Mount, IP Correction | EACH
223 | Bogen BCMA-1SM-0000-1 Wireless Repeater | EACH
224 | Bogen BCAL-2BS-12R-0Battery Operated Wireless Clocks, BCAL Series, 12" Round, Single Surface Mount, Analog | EACH
225 | Duracell E-DBATT Duracell PROCELL D Cell Battery | EACH
226 | Bogen BC35-M025 Transformer, 20KVA | EACH
227 | Bogen 35-MO30 Transformer, 30KVA | EACH
228 | Bogen BCBL-31S-404-4RSBL 1000 Series Wireless Digital Clock, 4.0" High Display, 4 Digit, 24V | EACH
229 | Bogen BCBD-008-404-0 Double Mount Black Metal Housing | EACH
230 | Bogen CA10A Call in Switch | EACH
231 | Bogen AT10A 10W Volume Knob | EACH
232 | Bogen CSD2X2U drop in speaker | EACH
233 | BOGEN NQ-SYSCTRL NYQUIST SYSTEM CONTROLLER | EACH
234 | BOGEN NQ-E7SWLMAINT5X NYQUIST 5-YEAR EXTENDED S/W UPDATE SUBSCRIPTION - SYSTEM LICENSE | EACH
235 | BOGEN NQ-E7SSLMAINT5X NYQUIST 5-YEAR EXTENDED S/W UPDATE SUBSCRIPTION - STATION LICENSES | EACH
236 | BOGEN NQ-E7CCLMAINT5X NYQUIST 5-YEAR EXTENDED S/W UPDATE SUBSCRIPTION - CONCURRENT CALL LICENSES | EACH
237 | VIDEO MOUNT PRODUCTS EREN-27 EQUIPMENT RACK ENCLOUSRE 27U | EACH
238 | TRENDNET 16-PORT GREENNET GIGABIT SWITCH | EACH
239 | FURMAN M-8X2 POWERLINE CONDITIONER AND SURGE PROTECTOR | EACH
240 | Tappan P20032.1X 22/2 Shielded, 1K, Plenum | FOOT
241 | Tappan P20032.1X 22/4 Shielded, 1K, Plenum | FOOT
| Line Items 1-241 | TOTAL
| Bid Total - Attachment "A" Totals & Attachment "B" Totals | $